## Sheet1
C2000 Plus | High-Performance Vector Control Drive | Heavy duty overload capability: 150% / 60 sec. and 180% / 3 sec.,
suitable for constant torque applications
● Supports induction / PM / SynRM motors
● Field-oriented vector control
● P2P control
LA8N | Compact 8-Digit LCD Digital Counters (Indicator Only) | ● Wide power range (up to 560 kW for 460 V models)
● User-friendly Start Wizard
● Display in 9 languages: English, Spanish, Portuguese, French, Russian,
Turkish, German, Italian, Traditional / Simplified Chinese
● Built-in PLC with 10k steps program capacity
CT | Programmable Digital Counter/Timers | ● Enhanced protections and adaptation with PCB coating, compliant with Class 3C3
● Modular design for easy maintenance and extension
● Built-in Modbus and optional communication cards:
EtherCAT, PROFINET, EtherNet/IP, PROFIBUS DP, DeviceNet, Modbus TCP, CANopen
FXY | Digital Counter/Timer Indicators (Indicator Only) | The FXY series indicators are counter/timer units with counting speeds of 1 cps, 30 cps, 2 kcps, and 5 kcps and various time setting ranges. Count-up, count-down, and count up/down modes are available for accurate measurement and display of various system configurations. The FXY series is available in 4-digit and 6-digit models in standard DIN size W 72 x H 36 mm.
Counting speeds: 1 cps / 30 cps / 2 kcps / 5 kcps
Switch between voltage input (PNP) and no-voltage input (NPN) using DIP switch
Operation modes: count-up, count-down, count-up/down (counter)
FXS | Compact Digital Counter/Timers | The FXS series compact digital counter/timers are integrated units with functions of counters and timers. Counting speeds of 1 cps, 30 cps, 2 kcps, and 5 kcps are available along with various time setting ranges. Count-up, count-down, and count up/down modes are available for accurate measurement and display of various system configurations. The FXS series is available in 4-digit and 5-digit models in standard DIN size W 48 x H 48 mm.
Counting speeds: 1 cps / 30 cps / 2 kcps / 5 kcps
Switch between voltage input (PNP) and no-voltage input (PNP) using DIP switch
Operation modes: count-up, count-down, count-up/down
FX | Standard Digital Counter/Timers | The FXM/FXH series digital counter/timers integrate functions of both counters and timers. Counting speeds of 1 cps, 30 cps, 2 kcps, and 5 kcps are available and various time setting ranges are also available for the timer function. Count-up, count-down, and count up/down modes are available for accurate measurement and display of various system configurations. Users can easily switch between NPN/PNP inputs using the attached DIP switch. The FXM/FXH series is available in 4-digit, 6-digit, and 8-digit models in 2 standard DIN sizes (W 72 x H 72, W 48 x H 96 mm)
Counting speeds: 1 cps / 30 cps / 2 kcps / 5 kcps
Switch between voltage input (PNP) and no-voltage input (PNP) using DIP switch
Operation modes: count-up, count-down, count-up/down
FS | 8-Pin Plug Type Digital Counters | The FS series digital counters feature counting speeds of 1 cps, 30 cps, 2 kcps, and 5 kcps and decimal point display function. Count-up and count-down operation modes are available for diverse applications. The 8-pin plug type connection allows easy installation and maintenance. The FS series counters are available in 4-digit and 5-digit models.
Counting speeds: 1 cps / 30 cps / 2 kcps / 5 kcps
Switch between voltage input (PNP) and no-voltage input (PNP) using DIP switch
Decimal point display function (fixed decimal point)
FM | Digital Measure Counters | The FM series measure counters can preset multiple or divisor for 1 input pulse and display the calculated value in multiply-mode and divide-modes. The counters feature counting speeds of 1 cps, 30 cps, 300 cps, 2 kcps, and 5 kcps and decimal point display function (fixed decimal point). The FM series counters feature a standard DIN size of W 72 x H 72 mm and are available in 4-digit and 6-digit models.
Counting speeds: 1 cps / 30 cps / 300 cps / 2 kcps / 5 kcps
Measure counting: multiply-mode / divide-mode
Operation modes: count-up, count-down, count-up/down

## Sheet2
CliQ | Din Rail | Delta’s feature-rich DIN rail power supplies offers start-up at -40°C, Advanced Power Boost, SIL3 EN61508 and Smart monitoring functions on selected CliQ models. To fulfill the demands in maritime applications, CliQ M series complies with ABS and DNV-GL safety standards. Several CliQ models are also certified to ATEX and Class I, Div 2 for use in hazardous locations.
• Terminal block
• Power Boost up to 3s (except DRP-24V48W1AZ)
CliQ II | Din Rail | Delta’s feature-rich DIN rail power supplies offers start-up at -40°C, Advanced Power Boost, SIL3 EN61508 and Smart monitoring functions on selected CliQ models. To fulfill the demands in maritime applications, CliQ M series complies with ABS and DNV-GL safety standards. Several CliQ models are also certified to ATEX and Class I, Div 2 for use in hazardous locations.
• IP20 connector
• Power Boost up to 5s
CliQ III | Din Rail | Delta’s feature-rich DIN rail power supplies offers start-up at -40°C, Advanced Power Boost, SIL3 EN61508 and Smart monitoring functions on selected CliQ models. To fulfill the demands in maritime applications, CliQ M series complies with ABS and DNV-GL safety standards. Several CliQ models are also certified to ATEX and Class I, Div 2 for use in hazardous locations.
• Slim design with high power density
• Power Boost up to 5s
CliQ M | Din Rail | Delta’s feature-rich DIN rail power supplies offers start-up at -40°C, Advanced Power Boost, SIL3 EN61508 and Smart monitoring functions on selected CliQ models. To fulfill the demands in maritime applications, CliQ M series complies with ABS and DNV-GL safety standards. Several CliQ models are also certified to ATEX and Class I, Div 2 for use in hazardous locations.
• Slim design with high power density
• Advanced Power Boost
• Maritime approvals
CliQ VA | Din Rail | Delta’s feature-rich DIN rail power supplies offers start-up at -40°C, Advanced Power Boost, SIL3 EN61508 and Smart monitoring functions on selected CliQ models. To fulfill the demands in maritime applications, CliQ M series complies with ABS and DNV-GL safety standards. Several CliQ models are also certified to ATEX and Class I, Div 2 for use in hazardous locations.
• Smart monitoring function
• Advanced Power Boost
Lyte | Din Rail | Delta’s feature-rich DIN rail power supplies offers start-up at -40°C, Advanced Power Boost, SIL3 EN61508 and Smart monitoring functions on selected CliQ models. To fulfill the demands in maritime applications, CliQ M series complies with ABS and DNV-GL safety standards. Several CliQ models are also certified to ATEX and Class I, Div 2 for use in hazardous locations.
• Competitively priced
• Built-in constant current circuit
Lyte II | Din Rail | Delta’s feature-rich DIN rail power supplies offers start-up at -40°C, Advanced Power Boost, SIL3 EN61508 and Smart monitoring functions on selected CliQ models. To fulfill the demands in maritime applications, CliQ M series complies with ABS and DNV-GL safety standards. Several CliQ models are also certified to ATEX and Class I, Div 2 for use in hazardous locations.
• Extreme slim width
• Reduced no-load power consumption
• Wide operating temperature
CHROME | Din Rail | Delta’s feature-rich DIN rail power supplies offers start-up at -40°C, Advanced Power Boost, SIL3 EN61508 and Smart monitoring functions on selected CliQ models. To fulfill the demands in maritime applications, CliQ M series complies with ABS and DNV-GL safety standards. Several CliQ models are also certified to ATEX and Class I, Div 2 for use in hazardous locations.
• Compact
• Class II double isolation
• NEC Class 2
CHROME | Din Rail | Delta’s feature-rich DIN rail power supplies offers start-up at -40°C, Advanced Power Boost, SIL3 EN61508 and Smart monitoring functions on selected CliQ models. To fulfill the demands in maritime applications, CliQ M series complies with ABS and DNV-GL safety standards. Several CliQ models are also certified to ATEX and Class I, Div 2 for use in hazardous locations.
• Compact
• Class II double isolation
• NEC Class 2
Sync | Din Rail | Delta’s feature-rich DIN rail power supplies offers start-up at -40°C, Advanced Power Boost, SIL3 EN61508 and Smart monitoring functions on selected CliQ models. To fulfill the demands in maritime applications, CliQ M series complies with ABS and DNV-GL safety standards. Several CliQ models are also certified to ATEX and Class I, Div 2 for use in hazardous locations.
• Compact
• NEC Class 2
• Competitively priced
DVP | Din Rail | Delta's DVP series industrial power supplies are the best choice for use with DVP series PLCs. DVP series industrial power supplies offer users DC24V 24W/48W/120W models with enhanced safety, efficiency, and the best power quality.
Redundancy Module | Din Rail | Wide input and output range
Very wide operating temperature from -40°C to +80°C
Built-in 2 channel DC OK signal and alarm relay contact
Support N+1 Redundancy connection
Conformal coating on PCBAs to protect against common dust and chemical pollutants
Hazardous Locations approval to ATEX and Class I, Div 2 (DRR-40A)
IP20 Certified
Certified according to IEC/EN/UL 62368-1
DC-UPS Module | Din Rail | Full corrosion resistant aluminium casing
Zero switch over time from loss of DC input to battery operation
Built-in diagnostic monitoring for DC OK, Discharge and Battery Fail by relay contacts
LED indicator for DC OK, Battery Charging, Battery Discharging, Battery Fail and Battery Reverse Polarity
High MTBF > 500,000 hrs as per Telcordia SR-332
Conformal coating option on PCBAs to protect against common dust and chemical pollutants
Certified according to IEC/EN/UL 62368-1
Buffer Module | Din Rail | Flexible operating buffering voltage modes:
Supports parallel connection to extend buffering time
Conformal coating on PCBAs to protect against common dust and chemical pollutants
Hazardous Locations approval to ATEX and Class I, Div 2 (DRB-24V020ABA)
PMC | Panel Mount | The PMC and PMT series Panel Mount Power Supply products offer nominal output voltages of 4.2V, 5V, 12V, 24V and 48V with output power ratings from 15W to 600W. These single phase power supply units have a wide operating temperature range from -10°C to +70°C. The products come with versatile three connector options (Terminal Block, Front Face and Harness). The Panel Mount Power Supply products are fully compliant with RoHS Directive 2011/65/EU for environmental protection for selected models.
• Aluminium casing
• Universal AC input voltage
PMF | Panel Mount | The PMC and PMT series Panel Mount Power Supply products offer nominal output voltages of 4.2V, 5V, 12V, 24V and 48V with output power ratings from 15W to 600W. These single phase power supply units have a wide operating temperature range from -10°C to +70°C. The products come with versatile three connector options (Terminal Block, Front Face and Harness). The Panel Mount Power Supply products are fully compliant with RoHS Directive 2011/65/EU for environmental protection for selected models.
• Remote ON/OFF
• Built-in PFC
PMH | Panel Mount | The PMC and PMT series Panel Mount Power Supply products offer nominal output voltages of 4.2V, 5V, 12V, 24V and 48V with output power ratings from 15W to 600W. These single phase power supply units have a wide operating temperature range from -10°C to +70°C. The products come with versatile three connector options (Terminal Block, Front Face and Harness). The Panel Mount Power Supply products are fully compliant with RoHS Directive 2011/65/EU for environmental protection for selected models.
• IEC 60335, IEC 61558 approvals
• Withstand line input voltage surge 300Vac up to 7 seconds
• Low profile (for selected models)
PMR | Panel Mount | The PMC and PMT series Panel Mount Power Supply products offer nominal output voltages of 4.2V, 5V, 12V, 24V and 48V with output power ratings from 15W to 600W. These single phase power supply units have a wide operating temperature range from -10°C to +70°C. The products come with versatile three connector options (Terminal Block, Front Face and Harness). The Panel Mount Power Supply products are fully compliant with RoHS Directive 2011/65/EU for environmental protection for selected models.
• Thickness < 1U
• Built-in PFC
PMT | Panel Mount | The PMC and PMT series Panel Mount Power Supply products offer nominal output voltages of 4.2V, 5V, 12V, 24V and 48V with output power ratings from 15W to 600W. These single phase power supply units have a wide operating temperature range from -10°C to +70°C. The products come with versatile three connector options (Terminal Block, Front Face and Harness). The Panel Mount Power Supply products are fully compliant with RoHS Directive 2011/65/EU for environmental protection for selected models.
• AC input voltage selectable switch
• High MTBF
PMT2 | Panel Mount | The PMC and PMT series Panel Mount Power Supply products offer nominal output voltages of 4.2V, 5V, 12V, 24V and 48V with output power ratings from 15W to 600W. These single phase power supply units have a wide operating temperature range from -10°C to +70°C. The products come with versatile three connector options (Terminal Block, Front Face and Harness). The Panel Mount Power Supply products are fully compliant with RoHS Directive 2011/65/EU for environmental protection for selected models.
• IEC 60335, IEC 61558 approvals
• Low profile 30mm height
PMU | Panel Mount | The PMC and PMT series Panel Mount Power Supply products offer nominal output voltages of 4.2V, 5V, 12V, 24V and 48V with output power ratings from 15W to 600W. These single phase power supply units have a wide operating temperature range from -10°C to +70°C. The products come with versatile three connector options (Terminal Block, Front Face and Harness). The Panel Mount Power Supply products are fully compliant with RoHS Directive 2011/65/EU for environmental protection for selected models.
• Power supply with integrated DC-UPS
PJ | Open Frame | The Open Frame Power Supply series offers the most widely used output voltages of 12V and 24V with power ratings of 30W, 50W, 100W and 150W, and 48V with a power rating of 50W. These power supply units come with a universal AC input from 85VAC to 264VAC and wide operating temperature of -10°C to +70°C. The features include low leakage and low inrush current while the conformal coating on the PCBAs provides protection against dust and chemical pollutants. The PJ Open Frame Supply series is certified to EMC standards according to EN 55011 for industrial, scientific and medical (ISM) radio-frequency equipment; EN 55022 for Information Technology Equipment (ITE) radio-frequency equipment; EMS according to EN 55024. The PJ Open Frame Power Supply series also conforms to major international safety standards including IEC/EN/UL 60950-1 standards and is fully compliant with RoHS Directive 2011/65/EU for environmental protection
• Built-in PFC
• Versatile configurations
• Conformal coating
PJB | Open Frame | The Open Frame Power Supply series offers the most widely used output voltages of 12V and 24V with power ratings of 30W, 50W, 100W and 150W, and 48V with a power rating of 50W. These power supply units come with a universal AC input from 85VAC to 264VAC and wide operating temperature of -10°C to +70°C. The features include low leakage and low inrush current while the conformal coating on the PCBAs provides protection against dust and chemical pollutants. The PJ Open Frame Supply series is certified to EMC standards according to EN 55011 for industrial, scientific and medical (ISM) radio-frequency equipment; EN 55022 for Information Technology Equipment (ITE) radio-frequency equipment; EMS according to EN 55024. The PJ Open Frame Power Supply series also conforms to major international safety standards including IEC/EN/UL 60950-1 standards and is fully compliant with RoHS Directive 2011/65/EU for environmental protection
• Power Boost up to 10s
• Conformal coating
PJH | Open Frame | The Open Frame Power Supply series offers the most widely used output voltages of 12V and 24V with power ratings of 30W, 50W, 100W and 150W, and 48V with a power rating of 50W. These power supply units come with a universal AC input from 85VAC to 264VAC and wide operating temperature of -10°C to +70°C. The features include low leakage and low inrush current while the conformal coating on the PCBAs provides protection against dust and chemical pollutants. The PJ Open Frame Supply series is certified to EMC standards according to EN 55011 for industrial, scientific and medical (ISM) radio-frequency equipment; EN 55022 for Information Technology Equipment (ITE) radio-frequency equipment; EMS according to EN 55024. The PJ Open Frame Power Supply series also conforms to major international safety standards including IEC/EN/UL 60950-1 standards and is fully compliant with RoHS Directive 2011/65/EU for environmental protection
• Household and ITE safety approvals
PJT | Open Frame | The Open Frame Power Supply series offers the most widely used output voltages of 12V and 24V with power ratings of 30W, 50W, 100W and 150W, and 48V with a power rating of 50W. These power supply units come with a universal AC input from 85VAC to 264VAC and wide operating temperature of -10°C to +70°C. The features include low leakage and low inrush current while the conformal coating on the PCBAs provides protection against dust and chemical pollutants. The PJ Open Frame Supply series is certified to EMC standards according to EN 55011 for industrial, scientific and medical (ISM) radio-frequency equipment; EN 55022 for Information Technology Equipment (ITE) radio-frequency equipment; EMS according to EN 55024. The PJ Open Frame Power Supply series also conforms to major international safety standards including IEC/EN/UL 60950-1 standards and is fully compliant with RoHS Directive 2011/65/EU for environmental protection
• High efficiency • Small footprint approvals
PJU | Open Frame | The Open Frame Power Supply series offers the most widely used output voltages of 12V and 24V with power ratings of 30W, 50W, 100W and 150W, and 48V with a power rating of 50W. These power supply units come with a universal AC input from 85VAC to 264VAC and wide operating temperature of -10°C to +70°C. The features include low leakage and low inrush current while the conformal coating on the PCBAs provides protection against dust and chemical pollutants. The PJ Open Frame Supply series is certified to EMC standards according to EN 55011 for industrial, scientific and medical (ISM) radio-frequency equipment; EN 55022 for Information Technology Equipment (ITE) radio-frequency equipment; EMS according to EN 55024. The PJ Open Frame Power Supply series also conforms to major international safety standards including IEC/EN/UL 60950-1 standards and is fully compliant with RoHS Directive 2011/65/EU for environmental protection
• Power supply with integrated DC-UPS
• Compact size
PJL | Open Frame | The Open Frame Power Supply series offers the most widely used output voltages of 12V and 24V with power ratings of 30W, 50W, 100W and 150W, and 48V with a power rating of 50W. These power supply units come with a universal AC input from 85VAC to 264VAC and wide operating temperature of -10°C to +70°C. The features include low leakage and low inrush current while the conformal coating on the PCBAs provides protection against dust and chemical pollutants. The PJ Open Frame Supply series is certified to EMC standards according to EN 55011 for industrial, scientific and medical (ISM) radio-frequency equipment; EN 55022 for Information Technology Equipment (ITE) radio-frequency equipment; EMS according to EN 55024. The PJ Open Frame Power Supply series also conforms to major international safety standards including IEC/EN/UL 60950-1 standards and is fully compliant with RoHS Directive 2011/65/EU for environmental protection
• UL 8750 and IEC/UL 60950-1 approvals
• Low inrush current
• LED lighting power solution